| Competitor name | Strengths | Weaknesses | Competition values | Opportunities |
| --- | --- | --- | --- | --- |
| Existing CNH control / HMI | • Already integrated with the oven • Reliable real-time control and safety functions | • Primarily operates/displays the process • Does not diagnose the identified energy loss | •Safe, proven oven operation | • Add a higher-level energy-analysis layer without replacing existing controls |
| Current historical energy-loss estimate | • Already indicates that a significant loss exists • Uses information CNH already has | • Retrospective and high-level • Does not show when or under what conditions excess use occurs | •Establishes the business problem and baseline | • Move toward condition-based, repeatable analysis using process data |
| Manual East-vs-West comparison | West oven is a relevant internal reference • Easy for engineers to understand | • Raw comparisons may be misleading if production conditions differ | • Provides an internal benchmark | • Normalize comparisons for temperature, conveyor speed, load and other conditions |
| Siemens SIMATIC Energy Manager | • Mature industrial energy-management platform • Scalable monitoring, analysis and benchmarking | • Broader platform than this single-oven problem • Requires configuration/integration for the plant context | • Production-grade energy transparency and reporting | • Build a focused CNH-specific proof-of-concept tied directly to the East-oven investigation |
| Rockwell FactoryTalk Energy Manager | Industrial energy baselining • Can compare actual energy use with expected values | • Commercial system with broader deployment scope • Plant integration and configuration would still be required | • Production-ready energy analytics | • Test what data, models and engineering insights are useful before any larger implementation decision |